## PTV2 45Gy form
POTEN-C Trial Objectives Sheet for PTV2_SAbR selection of 45 Gy
[7 empty] | Updated: | 2019-02-12
Patient Name: |  | MRN: |  |  | Case Number:
Number of Fractions: | 5 | Rx to PTV1 | 30 |  | Rx to PTV2_SAbR: | 45 | Dose to PTV2 must be 40 or 45Gy (institution elects)
Planner: |  | Plan Name: |  |  | Date:
Target/Organ [Submission ID] | Evaluation | Goal |  | Unit | Current Value | Compliant? | PTV Comments
PTV2_SAbR [PTV2_SAbR45Gy] | Rx Isodose | ( 60% ~ 90% ) |  | %
| %VRx | >= | 95% | %V |  |  | 95% of the target volume (PTV) is conformally covered by the prescription isodose
| D99%V | >= | 40.5 | GY |  |  | 99% of the target volume (PTV) receives a minimum of 90% of the prescription dose selected for that lesion.
| V105%Out / V105%In | <= | 15% | %V |  |  | volume of all tissue outside the PTV receiving a dose > 105% of the highest prescription dose should be no more than 15% of the size of the PTV volume receiving the highest dose
| Conformality | <= | 1.3
PTV1_30Gy [PTV1_30Gy] | Rx Isodose | ( 60% ~ 90% ) |  | %
| %V30Gy | >= | 95% | %V |  |  | 95% of the target volume (PTV) is conformally covered by the prescription isodose
| D99%V | >= | 27 | GY |  |  | 99% of the target volume (PTV) receives a minimum of 90% of the prescription dose selected for that lesion.
| V105%Out / V105%In | <= | 15% | %V |  |  | volume of all tissue outside the PTV receiving a dose > 105% of the highest prescription dose should be no more than 15% of the size of the PTV volume receiving the highest dose
| Conformality | <= | 1.3
Rectal Wall [RectalWall] | V50Gy | <= | 3 | cc
Rectal Wall Circumference n/a | V39Gy | <= | 30% | %V
| V24Gy | <= | 50% | %V
Rectum Superior to Prosate [RectumSuperior] | V25Gy | <= | 10 | cc
| Dmax | <= | 30 | GY
Small Intestine [SmallBowel] | V19.5Gy | <= | 10 | cc
| Dmax | <= | 29 | GY
Prostatic Urethra [Urethra] | Dmax | <= | 47.25 | GY
Bladder Wall [BladderWall] | V18.3Gy | <= | 50 | cc
| Dmax | <= | 47.25 | GY
Femoral Heads [FemoralHeads] | V30Gy | <= | 10 | cc
Skin [Skin] | Dmax | <= | 20 | GY
Penile Bulb and Corpora Cavernosa [PenileBulbCC] | V30 | <= | 3 | cc
| Dmean | <= | 10 | GY
| Dmax | <= | 31.5 | GY
Internal Pudendal Arteries (left/right separate) [IPA_left and IPA_right] | V20Gy | <= | 3 | cc
| Dmean | <= | 15 | GY
| Dmax | <= | 25 | GY
Single Pudendal Artery (side to be spared) | V15Gy | <= | 3 | cc
| Dmean | <= | 10 | GY
| Dmax | <= | 20 | GY
Neurovascular Bundles (left/right either) [NVB_left and NVB_right] | Dmax | <= | 47.25 | GY
Single neurovascular bundle (side to be spared) | V25Gy | <= | 3 | cc
| Dmax | <= | 31.5 | GY
Spared prostate volume [SparedProstate] | V30Gy | >= | 95% | %V
"point" is defined as 0.035cc or less
Non-constraint Structures [Submission ID]
Shaping structure for neurovascular elements [Shaping5mm]
**NOTE** PTV1_30Gy AND these neurovascular element structures in the red box are ONLY to be used in planning for patients assigned to the experiemental arm (neurovascular sparing). However, these neurovascular structures should be contoured for all cases .

## PTV2 40Gy form
POTEN-C Trial Objectives Sheet for PTV2_SAbR selection of 40 Gy
[7 empty] | Updated: | 2019-02-12
Patient Name: |  | MRN: |  |  | Case Number:
Number of Fractions: | 5 | Rx to PTV1 | 30 |  | Rx to PTV2_SAbR: | 40 | Dose to PTV2 must be 40 or 45Gy (institution elects)
Planner: |  | Plan Name: |  |  | Date:
Target/Organ [Submission ID] | Evaluation | Goal |  | Unit | Current Value | Compliant? | PTV Comments
PTV2_SAbR [PTV2_SAbR45Gy] | Rx Isodose | ( 60% ~ 90% ) |  | %
| %VRx | >= | 95% | %V |  |  | 95% of the target volume (PTV) is conformally covered by the prescription isodose
| D99%V | >= | 36 | GY |  |  | 99% of the target volume (PTV) receives a minimum of 90% of the prescription dose selected for that lesion.
| V105%Out / V105%In | <= | 15% | %V |  |  | volume of all tissue outside the PTV receiving a dose > 105% of the highest prescription dose should be no more than 15% of the size of the PTV volume receiving the highest dose
| Conformality | <= | 1.3
PTV1_30Gy [PTV1_30Gy] | Rx Isodose | ( 60% ~ 90% ) |  | %
| %V30Gy | >= | 95% | %V |  |  | 95% of the target volume (PTV) is conformally covered by the prescription isodose
| D99%V | >= | 27 | GY |  |  | 99% of the target volume (PTV) receives a minimum of 90% of the prescription dose selected for that lesion.
| V105%Out / V105%In | <= | 15% | %V |  |  | volume of all tissue outside the PTV receiving a dose > 105% of the highest prescription dose should be no more than 15% of the size of the PTV volume receiving the highest dose
| Conformality | <= | 1.3
Rectal Wall [RectalWall] | V50Gy | <= | 3 | cc
Rectal Wall Circumference n/a | V39Gy | <= | 30% | %V
| V24Gy | <= | 50% | %V
Rectum Superior to Prosate [RectumSuperior] | V25Gy | <= | 10 | cc
| Dmax | <= | 30 | GY
Small Intestine [SmallBowel] | V19.5Gy | <= | 10 | cc
| Dmax | <= | 29 | GY
Prostatic Urethra [Urethra] | Dmax | <= | 42.8 | GY
Bladder Wall [BladderWall] | V18.3Gy | <= | 50 | cc
| Dmax | <= | 42 | GY
Femoral Heads [FemoralHeads] | V30Gy | <= | 10 | cc
Skin [Skin] | Dmax | <= | 20 | GY
Penile Bulb and Corpora Cavernosa [PenileBulbCC] | V30 | <= | 3 | cc
| Dmean | <= | 10 | GY
| Dmax | <= | 31.5 | GY
Internal Pudendal Arteries (left/right separate) [IPA_left and IPA_right] | V20Gy | <= | 3 | cc
| Dmean | <= | 15 | GY
| Dmax | <= | 25 | GY
Single Pudendal Artery (side to be spared) | V15Gy | <= | 3 | cc
| Dmean | <= | 10 | GY
| Dmax | <= | 20 | GY
Neurovascular Bundles (left/right either) [NVB_left and NVB_right] | Dmax | <= | 47.25 | GY
Single neurovascular bundle (side to be spared) | V25Gy | <= | 3 | cc
| Dmax | <= | 31.5 | GY
Spared prostate volume [SparedProstate] | V30Gy | >= | 95% | %V
"point" is defined as 0.035cc or less
Non-constraint Structures [Submission ID]
Shaping structure for neurovascular elements [Shaping5mm]
**NOTE** PTV1_30Gy AND these neurovascular element structures in the red box are ONLY to be used in planning for patients assigned to the experiemental arm (neurovascular sparing). However, these neurovascular structures should be contoured for all cases .