RESEARCH COORDINATOR RESPONSIBILITY TIP SHEET

Research in the AIRC requires collaboration with the research team. The research team must provide personnel for all pre- and post-scan activities, which may include any of the following responsibilities:

- Verify participant MRI eligibility at least 72 hours prior to scan.

- Schedule the scanner, support rooms and nursing assistance for IV starts and/or blood draws.

- If needed, arrange any fMRI equipment setup prior to the scan. A technologist will assist, but the setup with the participant is primarily the research team’s responsibility.

- Meet the research participant at least 30 mins before scan and escort them to support room to await scheduled MRI time and remain with subject for the entire scan.

- Prepare the participant for the scan: which may include, but not limited to, consenting on the approved IRB protocol, reviewing and signing the MRI screening form, providing instructions for locking up valuables, changing into scrubs, escorting to bathrooms prior to entering the MRI suite.

  - If there are any questions as to the participant’s qualifications to undergo an MRI, this must be addressed with an MR technologist 72 hours PRIOR to the study day. Participants who are disqualified after screening by the MR technologist on the study day (or within 72 hours) will result in a cancelled study and will be subject to the associated scanner fees.

- Bring the required paperwork on arrival with the research participant. A scheduled scan will not commence without an approved IRB signed consent and MRI screening form.

- Arrange and confirm physician coverage for MRI contrast administration PRIOR to the day of the scan. Contrast will not be administered to a research participant without a licensed physician prepared to manage adverse events related to the contrast present in the NE building.

- The research team member MUST be familiar with emergency procedures and is expected to assist the MR technologist in removing a participant to a safe zone (Zone II) in the event of an emergency.

  - Consequently, on arrival to Zone III, the research team member should remove all metal and store in the provided cubbies, so that immediate assistance may be given.